## Slide 1
PID Controller Forms
Ideal form
KP: proportional gain,
: integral time constant,
: derivative time constant
KI: Integral gain,
KD: Derivative gain,

## Slide 2: Design -- Step 1: Factoring the model
Factor the model
contains all Nonminimum Phase Elements, RHP zeros and time delays.
Initial IMC controller defined as
The factorization of
dependent upon the objective function
Integral-Absolute-Error (IAE)-optimal for step setpoint/disturbance changes.
The factor
is stable and causal.
Example
is Integral-Square-Error (ISE)-optimal for step set point/output disturbance changes.

## Slide 3: Design –Step 2: Making Controller Proper
Augment q with a filter f(s) such that the final IMC controller proper
A common filter choice that conforms to this requirement

## Slide 4: Design –Step 3: Convert to Normal Form
Converted to the conventional form for implementation

## Slide 5: PI Control for the First Order Model
under the condition that d and r are step input changes.
Step 2: Augment with a first-order filter
Step 3: solve for the classical feedback controller equivalent c(s) to obtain
τ > 0
Step 1: Factor and invert

## Slide 6: Deadtime Control
step setpoint/output disturbance changes to the closed-loop system.
Step 1: The optimal factorization (IAE, ISE, or otherwise)
Step 2: A first-order filter makes q semiproper;
Step 3: The corresponding feedback controller is

## Slide 7: PID Tuning for FOPTD Plants
Taylor approximation
A PI controller with

## Slide 8: PID Tuning for FOPTD Plants
Padè-approximation
a second-order plant with RHP zero: PID tuning rule:
is a measure related to robustness of the closed-loop system.
IMC-PID controller results in an ISE value 10% more than optimal.

## Slide 9: Gain and Phase Crossover Frequency
gain margin at phase crossover frequency
phase margins at the gain crossover frequency
.

## Slide 10: Simplified Design-Problem Formulation
Model
PID controller
Selecting
Open loop transfer function becomes

## Slide 11: Gain and Phase-Solution From
 | 2 | 3 | 4 | 5

## Slide 12
Summary
Proportional: makes control proportional to error signal by all pass gain factor.
Integral: reduces steady-state errors through low-frequency compensation.
Derivative: improves transient response through high-frequency compensation.
 | Rise Time | Overshoot | Settling Time | Steady-State Error | Stability
Increasing KP | Decrease | Increase | Small Increase | Decrease | Degrade
Increasing KI | Small Decrease | Increase | Increase | Large Decrease | Degrade
Increasing KD | Small Decrease | Decrease | Decrease | Minor Change | uncertain