## Slide 1: Design by Detuning Factor
Effects of interaction on tuning by RGA, reflected by detuning correlation
Procedure:
Use any single-loop tuning rules to obtain starting values for individual controllers; let controller gains be Kci.
These gains should be reduced depend on relative gain parameter 
It may still be necessary to “retune” these controllers after they have been put in operation. much less effort than starting from scratch.

## Slide 2: Principle on Design Decentralized Controller
EFT based on RNGA
Integrity: controller is no more aggressive than SISO without interaction
Original
Select maximum
Why?
Select maximum
Why?
Phase cross over frequency

## Slide 3
ETF Summary
Parameter change
ETFs

## Slide 4
ETF Summary
Parameter change